Requirement form for Motor / Generator Auto Testing (MAT) Laboratory

Kindly take the print, fill the form and send it by email, fax or by courier

Kindly provide following details so that Prolific can propose suitable MAT Laboratory

- What is the range of Motors / Generators you manufacture / repair, Voltage Rating?

| Phases | Number of Poles | Rating in kW / HP |  | Voltage Rating (KV) |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Min | Max | Min | Max |
| 3 ᶲ | 2 |  |  |  |  |
|  | 4 |  |  |  |  |
|  | 6 |  |  |  |  |
|  | 8 |  |  |  |  |
|  | 10 |  |  |  |  |
| 1 ᶲ |  |  |  |  |  |

| Rating in kW / HP |  |  | RPM |  | Armature |  | Field |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DC Motor | Min | Max | Min | Max | Voltage Rating (V) |  |  | Voltage (V) | Current (A) |
|  |  |  |  |  | Min | Max |  | Max | Max |

- For the highest rating of the motor / Generator to be tested in the test lab,  What is the minimum efficiency ………… %  & Maximum Impedance (% Z) …………….?

- Incoming power available at testing floor is of ________KVA, ______KV  &_______Hz

- Single Line Diagram (SLD) of the power circuit  is attached / will be sent later

- We are looking forward to following benefits with the use of MAT

| - To reduce cable connection and disconnection time | - Instant error-free report generation & printing |
| --- | --- |
| - To reduce testing process time | - To reduce error-free complex calculation time |
| - To increase the productivity | - Analysis Report for all test reports |
| - To acquire the data online from instruments and log to database | - Easy storage & retrieval of all the test reports |
| - To reduce the report generation time | - Option to enter data manually in software |
| - Auto indexing & page numbering of test reports as selected test sequence |  |

- Type of Motor / Generator we manufacture / Repair?

| - AC Induction | - AC Slip-ring Induction | - Synchronous | - Reluctance |
| --- | --- | --- | --- |
| - Permanent Magnet Synchronous | - DC | - Brushed DC | - Brushless DC |
| - Stepper | - Core Loss Test, I (max) ……..A, V (max)……V |  |  |

- Following tests to be conducted

Routine Tests

| - Insulation Test | - Winding Resistance Test | - High Voltage Test |
| --- | --- | --- |
| - Surge Test (Inter-turn short test) | - No load loss and no load current | - Starting torque test (Blocked Rotor Test) |
| - Vibration test |  |  |

Type Tests

| - Full load loss & full load current | - Rated torque test at rated speed | - Measurement of Break-down & Running Torque |
| --- | --- | --- |
| - Pull up torque test | - Temperature rise test | - Efficiency Test |
| - Over frequency test | - Overload Test | - Noise level test |
| - C- Tan delta test | - Partial discharge test | - Harmonics |
| - RSO test | - ELCID test | - Friction And Windage Losses |

- We use following Test Instruments. Details are as given below

| Instrument | We need offer from Prolific (Yes/No) | Preferred Make & Model of Instruments (Existing / To be offered) | Specify the Port (None / RS-232 / USB / GPIB ) |
| --- | --- | --- | --- |
| Insulation tester |  |  |  |
| Resistance meter |  |  |  |
| Surge test Meter |  |  |  |
| HV Tester |  |  |  |
| Power Meter / Power Analyzer |  |  |  |
| Vibration meter Sensor) |  |  |  |
| Capacitance & Tan delta |  |  |  |
| Noise Meter |  |  |  |
| PD Meter |  |  |  |
| ELCID tester |  |  |  |
| Temperature Sensor |  |  |  |

- We need offer from Prolific for following equipments

| Equipments | We need offer from Prolific (Yes/No) | Preferred Equipment Ratings (Existing / To be offered) |
| --- | --- | --- |
| - Motor Generator Set / Electronic Frequency Converter for Over Frequency Test |  |  |
| - Voltage Regulator (Dimmer) |  |  |
| - Capacitor Bank |  |  |
| - CTs & PTs |  |  |
| - Booster Transformer |  |  |
| - Dynamometer |  |  |
| - VFD based Regenerative System |  |  |
| - Driving Motor for Generator |  |  |

- Cable Supply & its laying

| Type | We need offer from Prolific (Yes/No) |
| --- | --- |
| Control cables between Test Bench to equipments,etc |  |
| Power cables between Power panel to equipments,etc |  |
| Cable Trays for cable laying |  |
| Laying & termination of control cables, power cables and Cable trays |  |

- We need following additional features

- Connectivity with ERP / SAP system to store the testing data.

- View testing data online from customer location thru web access

- Presently we are testing  ______ units / day & Target is _____ units / day

- We would like Motor / Generator Auto Test to be installed by Month / Year ________

- Other Details

| Signature |  |
| --- | --- |
| Name of the Person |  |
| Designation |  |
| Organization Name |  |

Abbreviations Used:

- MAT		:	Motor Auto Test.

- VFD 		:	Variable Frequency Drive.

- ELICD		:	Electromagnetic Core Imperfection Detection.

- PD			:	Partial Discharge.